ANNEX 1

|  |  |  |  |
| --- | --- | --- | --- |
| Product Fiche WATERH EATERS (in accordance with EU regulation no. 812/2013)  *Informacijski list BOJLERI (u skladu sa EU regulativa br. 812/2013)* | | | |
|  | Trademark  *Tržišni znak (brend):* |  | |
|  | Model  *Model:* | D100-20ED6 | |
|  | Declared load profile  *Deklarirana oznaka kapaciteta:* |  | M |
|  | Water heating energy efficiency class  *Razred energetske učinkovitosti:* |  | B |
|  | Water heating energy efficiency (ηwh)  *Energetska učinkovitost zagrijavanja vode:* |  | 39 |
|  | The annual electricity consumption АЕС  *Godišnja potrošnja električne energije AEC* |  | 1316 |
|  | Thermostat temperature settings  *Temperature podešena na termostatu* |  | 75 |

|  |  |  |  |
| --- | --- | --- | --- |
| Product information WATERH EATERS (in accordance with EU regulation no. 814/2013)  *Informacije o proizvodu – BOJLERI (u skladu sa EU regulativom br. 814/2013)* | | | |
|  | Model  *Model:* | D100-20ED6 | |
|  | Daily electricity consumption Q\_elec  *Dnevna potrošnja električne energije:* |  | 8.458 |
|  | Declared load profile  *Deklarirana oznaka kapaciteta:* |  | M |
|  | Mixed water at 40 °С (V40)  *Miješana voda na 40 °C (V40)* |  | 144 |
|  | Max. temperature of the thermostat (Тmax)  *Najveća temp. na termostatu (Tmax)* |  | 75 |
|  | Out of boх mode Тoutofbox  *Način rada Out of box* |  | 75 |
|  | Water heating energy efficiency (ηwh)  *Energetska učinkovitost zagrijavanja vode:* |  | 39.0 |
|  | All specific precautions for assembly, installation and maintenance are described in the operating and installation instructions. Read and follow the operating and installation instructions.  *Sve posebne mjere opreza za sastavljanje, ugradnju i održavanje opisane su u uputama za upotrebu i ugradnju. Pročitajte i slijedite upute za rad i instalaciju.* | | |
|  | All the data that is included in the product information was determined by applying the speciﬁcations of the relevant European directives. Diﬀerences to product information listed elsewhere may result in diﬀerent test conditions. Only the data is contained in this product information is applicable and valid.  *Svi podaci koji su uključeni u informacije o proizvodu utvrđeni su primjenom specifikacija relevantnih europskih direktiva. Razlike u odnosu na informacije o proizvodu navedene drugdje mogu rezultirati različitim uvjetima ispitivanja. Samo su podaci sadržani u ovim informacijama o proizvodu primjenjivi i valjani.* | | |